## Langry RH225-A Rebound Hammer: Complete Guide, Specifications and Applications

Suggested URL:
/blog/langry-rh225-a-rebound-hammer/

SEO Title:
Langry RH225-A Rebound Hammer: Specifications, Uses & Guide

Meta Description:
Learn about the Langry RH225-A rebound hammer, including specifications, applications, testing principle, calibration and important selection considerations.

Focus Keywords:
Langry RH225-A, Langry rebound hammer, RH225-A rebound hammer, concrete test hammer, rebound hammer India

### Introduction

The LANGRY RH225-A is a mechanical concrete test hammer designed for assessing hardened concrete in structural engineering and quality-control applications.

For civil engineers, contractors, laboratories and NDT professionals looking for a practical concrete test hammer, understanding the specifications and intended application of the RH225-A is important before purchasing.

### What is the LANGRY RH225-A?

The RH225-A is a mechanical rebound hammer manufactured by LANGRY.

According to the manufacturer's published information, the instrument is designed for concrete strength assessment applications and uses a spring-driven impact mechanism.

### RH225-A Key Specifications

According to LANGRY's published product specifications:

| Parameter | Specification |
| --- | --- |
| Model | RH225-A |
| Standard impact energy | 2.207 J |
| Pointer length | 20.0 ± 0.2 mm |
| Friction of pointer | 0.65 ± 0.15 N |
| Spherical radius of bouncing rod | 25 ± 1.0 mm |
| Elastic tension spring stiffness | 785.0 ± 30.0 N/m |
| Operating length of elastic tension spring | 61.5 ± 0.3 mm |
| Calibration value on testing anvil | 80 ± 2 |

Specifications should always be confirmed against the latest manufacturer documentation supplied with the instrument.

### Applications

The RH225-A can be used in applications involving:

- Concrete quality assessment

- Structural inspection

- Construction quality control

- Civil engineering laboratories

- Infrastructure assessment

- Comparative concrete testing

- Research applications

### Standards Associated With RH225-A

LANGRY lists several standards and technical references for the RH225-A, including:

- ASTM C805

- EN 12504-4

- EN 13791

- JGJ-T23

- JIS A1155

- ISO/DIS 8045

The applicable standard should always be selected according to the project and jurisdiction.

### Why Calibration Matters

Like other measuring instruments, rebound hammers need appropriate verification and maintenance.

LANGRY specifies a calibration value of 80±2 Rebound for the testing anvil associated with the RH225-A.

Users should follow the manufacturer's recommended calibration/verification procedure and maintain appropriate records.

### Why Choose a Mechanical Rebound Hammer?

Mechanical rebound hammers can be useful where users need:

- Simple operation

- Cost Friendly

- Portable testing

- No external power requirement

- Quick field measurements

- Easy visual reading

- Durable field equipment

For users requiring digital data management, a digital model RH225-B may be more appropriate.

### Buying RH225-A in India

When purchasing a LANGRY RH225-A, buyers should consider:

- Genuine product sourcing

- Manufacturer documentation

- Calibration/verification support

- Warranty

- Spare parts

- Technical support

- GST invoice

- Delivery location

Accurion Technologies supplies LANGRY rebound hammers and concrete testing equipment to customers across India.

### Conclusion

The LANGRY RH225-A is a practical mechanical concrete test hammer for non-destructive assessment applications.

However, obtaining useful results depends not only on the instrument itself but also on correct testing procedure, surface preparation, instrument verification and proper interpretation.

For pricing, availability and technical specifications, contact Accurion Technologies.